| Organisation: |  | Inspected By: |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Area: |  | Date: |  |  |  |
| Electrical Installations |  | Yes | No | N/A | Actions Required / Notes |
| Are switchboards and panels correctly labelled and protected from damage? |  | ☐ | ☐ | ☐ |  |
| Are lights and light fittings suitable for the work area and protected from damage? |  | ☐ | ☐ | ☐ |  |
| Are power points suitable for the work areas and safely positioned? |  | ☐ | ☐ | ☐ |  |
| Are any Electrical work clearly barricaded and machine/electrical circuit locks in place? |  | ☐ | ☐ | ☐ |  |
| Electrical Installations Inspection |  | Yes | No | N/A | Actions Required / Notes |
| Is there inspection program in place? |  | ☐ | ☐ | ☐ |  |
| Has electrical equipment been tested and tagged? |  | ☐ | ☐ | ☐ |  |
| For construction workplaces: Have portable and fixed electrical equipment been tagged? |  | ☐ | ☐ | ☐ |  |
| Is there is a record of the relevant test data? |  | ☐ | ☐ | ☐ |  |
| Cords and Extension Sets |  | Yes | No | N/A | Actions Required / Notes |
| Are plugs, sockets and extension leads in good condition? |  | ☐ | ☐ | ☐ |  |
| Are all flexible cords protected from damage? |  | ☐ | ☐ | ☐ |  |
| For construction workplaces: Has it been ensured that aerial cables are not fixed or attached to scaffolding? |  | ☐ | ☐ | ☐ |  |
| Are cords suitable for the length in use? |  | ☐ | ☐ | ☐ |  |
| All extension leads elevated |  | ☐ | ☐ | ☐ |  |
| Residual Current Devices (RCDs) |  | Yes | No | N/A | Actions Required / Comments |
| Are RCDs installed at switchboards and fixed sockets? |  | ☐ | ☐ | ☐ |  |
| Is portable electrical equipment protected by RCDs? |  | ☐ | ☐ | ☐ |  |
| Are RCDs labelled and have they been tested? |  | ☐ | ☐ | ☐ |  |
| Summary/Comments |  |  |  |  |  |