## Sheet2
Hazard Identification and Risk Assessment (HIRA) Register template
Sr. No | Hazard | WHSE Risk | Key causes | Risk |  |  | Control Measures |  | Residual Risk
|  |  |  | C | L | R |  |  | C | L | R
1 | Falling from Height | Fatality or permanent disability | Unprotected edges. Unprotected trenches and excavations. Unprotected edges on Mobile Plant. | C1 | L3 | E | All work platforms have secure handrails. Use full fall arrest type harness and PPEs. All floor penetrations, edges covered or hard barricaded. All ladders secured to prevent movement. |  | C3 | L4 | M
2 | Slip, trip and fall | Injuries (e.g. sprains / strains) requiring medical attention | Access routes obstructed by materials. Leads and hoses across access routes. Slippery surfaces Poor visibility Poor housekeeping | C4 | L2 | H | All access routes to be kept clear of materials and debris. Check house keeping before starting job. Apply mandatory PPEs All surfaces used for access kept dry and in good condition without any chemical/oil spill/leak Provide adequate lighting |  | C4 | L4 | L
3 | Manual Handling | Musculoskeletal injury ‐ Long term illness, medical treatment injury due to object falling on hands/legs | Incorrect handling practice. Handling of heavy materials. Sustained awkward postures, repetitive /sustained action. Use of heavy tools and equipment. | C4 | L3 | M | Safe manual handling practices. Mechanical Lifting/Pulling tools/equipment to be used wherever practicable |  | C4 | L4 | L |  | C1 | L1
4 | Mobile plant movement in work area | Person struck/crushed by mobile plant resulting into serious injury or fatality. Load/object collision resulting into injury. Property damage due to mobile plant hit/overturn | Vehicle Movement Plan not implemented or followed. Multiple plant movements in close proximity to one another. Poor Visibility . Failure/lack of communication. Blind spots, poor operator visibility or poor hazard detection. Unexperienced plant operators | C1 | L3 | E | Operator qualification. Restricted vehicle movement. Adequate lighting. Barricading of area. Speed limit. |  | C2 | L5 | M |  | C2 | L2
5 | Suspended load | Object/load fall on workers. Equipment damage. Injury to commuters, road vehicles. | Poorly/incorrectly secured loads. Poorly maintained lifting gears. Wrong lifting gears. | C2 | L3 | H | Training and qualification. Periodic inspection and testing. Area barricading. Restricted movement. |  | C2 | L5 | M | Corrective Action | C3 | L3
6 | Excavation/ Trench collapse | Worker crushed resulting in serious personal injury | Inadequate shoring. Poor weather conditions. Failure to monitor/inspect condition of trench. | C2 | L4 | H | Area barricading. Adequate shoring. Restricted movement. |  | C2 | L5 | M | Preventive Action | C4 | L4
7 | Lightning strike | Equipment damage, fires and electrocution | Poor earthing | C3 | L4 | M | Ensure adequate earthing and grounding of equipment |  | C3 | L5 | L | WHSE Audits/ Inspection | C5 | L5
8 | Live electrical equipment | Electrocution, fatality in worst condition. Injury due to working with rotating machines. | Use of damaged equipment and tools. Not using earth leakage protection devices. Failure to inspect tools/equipment before use. Failure to conduct routine testing & tagging. | C2 | L3 | H | Electrical isolation and tagging. Periodic inspection and testing Ensure usage of earth leak protection devices. Segregation of faulty equipment |  | C3 | L5 | L | Incident investigation
9 | Exposure to underground and overhead services | Loss of utility services(ex- electricity, gas, water). Fire, explosion in case of gas leakage. Injury due to pressurised services. | Site services (live) not identified prior to work. Lack of information on essential services. Lack of training. Incorrect drawings. Incorrectly identifying services | C2 | L4 | H | Ensure up to date drawings and information regarding live services. PPEs and fire protection equipment. Evacuation plan. Training and awareness. |  | C3 | L5 | L | Tool Box talks | C1 | H | H | E | E | E
10 | Dust and airborne particles | Acute or chronic respiratory illness, complaints from neighbours/ community/public | Concrete cutting/breaking. Insufficient dust suppression. | C3 | L4 | M | Use of right PPEs. Use of dust suppression such as watercarts if required. Health Surveillance procedure. Hard barricading to restrict dust within work area but not going in public areas. |  | C3 | L5 | L | Hazard/Risk assessment/SWMS | C2 | M | H | H | E | E
11 | Exposure to Harmful Biological Agents / Contaminants | Blood borne diseases. Skin infections Dermatitis | Exposure to bloodborne pathogens Exposure to biological content Treating injured personnel ‐ First Aid | C3 | L4 | M | First Aid facilities and kits on site with appropriate equipment. Trained First Aid providers. Hygiene awareness for workers. |  | C4 | L5 | L | Emergency Response drills | C3 | L | M | H | H | E
12 | Hazardous chemicals | Spill/leak resulting into acute health effect or fire and explosion and injury | Sub‐standard storage of hazardous chemicals. Lack of emergency equipment. Lack of segregation of chemicals. Lack of awareness | C1 | L3 | E | SDS awareness. Training on handling of hazardous chemicals. Emergency contact details for emergency services. Safe storage of chemicals. Minimum quantity for storage at once |  | C2 | L5 | M | Non Compliance/Violation notice | C4 | L | L | M | H | H
13 | Hazardous chemicals | Spill leak resulting into environmental (Water/soil/air) pollution | Sub‐standard storage of hazardous chemicals. Discharge of fuel/chemicals onto surface. Discharges to surface water or ground water. Lack of emergency kits. Lack of awareness. | C2 | L3 | H | SDS awareness. Emergency spill kit. Training on handling of hazardous chemicals. Emergency contact details for emergency services. Safe storage of chemicals. Minimum quantity for storage at once |  | C4 | L5 | L | WHSE Meeting | C5 | L | L | L3 | M | M
14 | Exposure to Dangerous Flora or Fauna e.g. Snakes, and spiders | serious injury, minor injury | Disturbing of habitat Clearing & Grubbing Access to confined space locations | C2 | L4 | H | Inspect areas prior to work. Trained First Aid providers. Housekeeping and waste management practices on site. PPEs. |  | C3 | L5 | L | Principal Contractor/ Third Party |  | L5 | L4 | L3 | L2 | L1
15 | Sharp Objects | Cuts / punctures / pinches from hand tools, plant, Sharp objects. | Unprotected sharp edges. Use of sharp/non standards objects. Expose to pinch points | C4 | L3 | M | Guarding and shrouds around pinch points. Use of standard tools. PPEs. Fit for purpose cutting tools i.e.; self retracting Stanley Knives |  | C4 | L4 | L
16 | Worker Fatigue | Serious injury, medical attention | Pre-existing medical conditions. Workers allowed to exceed max hours per shift and max number of continuous shifts | C3 | L3 | H | Pre‐employment medical screening Max work hours defined and workers are not allowed exceed the max work hour. Adequate rests and breaks. |  | C3 | L5 | L |  | E
17 | Drug and Alcohol | Working under the influence of Drugs and Alcohol may result into Serious injury, medical attention to self and others | Drinking during working hours. Drug & substance abuse. Regular heavy drinking outside working hours. Lack of D&A policy and program. Lack of D&A testing. | C2 | L3 | H | Pre‐employment medical screening process to include drug and alcohol screening. Drugs and Alcohol policy and awareness. Random drug testing. |  | C2 | L5 | M
18 | Hot work activities | Burns resulting in medical treatment and LTI. Fire resulting into property damage. | Working without hard barricading and isolation during welding, cutting and grinding activities. | C2 | L4 | H | Hot work permit, trained and qualified workers. Fire protection equipment. First Aid provision, use of PPEs |  | C3 | L5 | L
19 | Sub Contractors | Hiring of incapable subcontractor may pose risk of serious injury and property damage. | Lack of contractor capability. Failure to have sufficiently skilled and experience resources. | C3 | L3 | H | Sub contractor selection and qualification process. Direct supervision by supervisors. Mandatory Induction program before starting the job. |  | C3 | L5 | L
20 | Waterlogging/Flood | Waterlogging, flood resulting into property/equipment damage | Extreme weather- heavy rainfall Utility- Water pipeline burst in work area | C4 | L4 | L | Check drainage areas and housekeeping. keep equipment in safe areas |  | C4 | L4 | L
21 | Faulty equipment- oil leak and spill | Oil spill and leak resulting into slippery floor, soil contamination, storm water contamination. | Lack of inspection and maintenance of equipment | C3 | L4 | M | Periodic inspection and maintenance of equipment. Spill kit availability. Segregation and collection of waste. |  | C4 | L5 | L
22 | Waste | Generation of excessive hazardous/non hazardous waste - waste of natural resources resulting into environmental damage, poor waste management resulting into illness | Resources management is not defined and is not efficient. Lack of waste separation, recycle facility | C3 | L4 | M | Company waste management principles: Waste avoidance Waste reuse Waste recycling Energy saving Waste disposal |  | C5 | L4 | L
23 | Traffic Hazards | Roadblocked, pedestrian walk way blockade may raise risk of public complaint or traffic disturbance. Vehicle collision risk in internal work areas. | Vehicles entering, exiting a work site. Working in close proximity to roads. No prior permission from traffic police in case of road blockade. | C4 | L3 | M | Closure of road with barricading and prior permission from traffic Police. Appropriate signage and possible alternate route marking. Limit on duration of Vehicles. Speed restriction. Temporary traffic lights. |  | C5 | L4 | L
24 | High Noise | Hearing loss in long term | Plant and equipment making high noise. Not wearing appropriate protection. Excessive exposure to noisy areas. | C3 | L3 | H | Fit noise suppression to noisy plant and equipment. Mandatory PPEs. Periodic health monitoring. |  | C5 | L5 | L
25 | Ergonomic Hazards | Awkward position at office or at project sites may result into Musculoskeletal Disorders | Poor work posture. Repetitive movement. Poor workstation design. | C3 | L3 | H | Workstation to confirm with ergonomic standards. Employee training. Modify work task to avoid repetitive movement. |  | C4 | L4 | L
26 | Asbestos Hazards | Asbestoses exposure may result into respiratory illness | Accidental contact with Asbestoses. Not confirming presence of asbestos before starting work. Lack of PPEs. | C3 | L3 | H | Confirm with Principal contractors regarding presence of asbestos at site prior to work. Asbestos training to supervisors. |  | C3 | L5 | L
27 | Suffocation | Fatality because of Asphyxiation | Working in confined space with low oxygen level. Asphyxiation due to displacement of oxygen - processes or machines that give off heavier than air gases. | C1 | L3 | E | Safe work permit before starting the job Continuous oxygen monitoring while working in confined space Training and awareness Standby person for emergency evacuation |  | C3 | L4 | M
28
29
30
Prepared By: |  |  |  | Reviewed By: |  |  |  | Date