| Organisation: |  | Completed By: |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Area: |  | Date: |  |  |  |
| Item |  | Yes | No | N/A | Actions Required / Notes |
| The pipeline has been cleaned of all construction debris and foreign matter. |  | ☐ | ☐ | ☐ |  |
| The volumetric rate of fill, fill method, and fill procedure has been finalised. |  | ☐ | ☐ | ☐ |  |
| It has been verified that all air valves are in the “open” position, for proper operation during filling |  | ☐ | ☐ | ☐ |  |
| All blank-flanged ends and valves restrained and supported |  | ☐ | ☐ | ☐ |  |
| All temporary tools such as hoses, connection fittings, flanges, end caps, isolation valves etc. are rated higher than the maximum hydrostatic pressure. |  | ☐ | ☐ | ☐ |  |
| All test equipment has been checked for any obvious faults and its functionality understood |  | ☐ | ☐ | ☐ |  |
| An emergency response plan in the event of a dramatic rupture during hydro-test has been developed and is available on request. |  | ☐ | ☐ | ☐ |  |
| All personnel authorised to participate in the test have been adequately instructed in the test plan and have been issued the required personal protective equipment. |  | ☐ | ☐ | ☐ |  |
| Has an approved risk assessment (e.g. JSA) been discussed with workers and is it available for review? |  | ☐ | ☐ | ☐ |  |
| A written and approved procedure is available and contains all required information? |  | ☐ | ☐ | ☐ |  |
| Has the relief valve(s) been tested and tagged ‘TESTED’ with the set pressure and date? |  | ☐ | ☐ | ☐ |  |
| Does the relief valve(s) have adequate capacity and the appropriate set pressure? |  | ☐ | ☐ | ☐ |  |
| Have you confirmed that there is no block valve in the relief valve's outlet or inlet? |  | ☐ | ☐ | ☐ |  |
| Summary/Comments |  |  |  |  |  |